## Sheet1
Construction - Environmental Checklist
Project:
|  | Not Appl | Description
Air
DEP Construction/Demolition permit - AQ06, 10 days prior to any demo
Dust control
ACM
Sampling, forward results to EH&S
DEP Asbestos Abatement Permit - ANF-001
Abatement Plan
ACM Manifest signed by EH&S
Industrial Hygienist
Abatement Contractor
PCBs
Contact EH&S prior to sampling, forward results to EH&S
Building sealants with or assumed to contain PCBs
EPA Notification
PCB Plan
Profiles and Hazardous waste manifests signed by EH&S
Industrial Hygienist
Abatement Contractor
Lead Cadmium Chromium
Sampling, forward results to EH&S
PB Ca Cr Plan
Profiles and Hazardous waste manifests signed by EH&S
Other Hazardous Materials
Profiles and Hazardous waste manifests signed by EH&S
PCBs in ballasts, transformers
Heavy metals
Universal Wastes, contractor is responsible
Contaminated soils
Storm Water
Nothing down storm drains but rain water, no silt | > 1 acre - General Construction NPDES permit
SWPPP describing inpsections and BMPs
Notice of Termination
<1 acre must still follow BMPs
Power washing permitted without chemicals, not down storm drain, chemicals must be collected
Wetlands Protection
Conservation Commission/DEP Notice of Intent
Notice of Termination
Construction Hazardous Material Storage
Oil stored at 55 gal or greater; notify EH&S
Flammables must be stored appropriately
Secondary containment
Spills, maintain spill kit ; notify EH&S to verify any cleanup activities
Sewer Discharge Permit
> 1000 gal or harmful to POTW to include pH outside of 5-9; temperatures greater than 103F; high iron; flammable; fats oil or greases; high volumes (100 gpm)
Permanent, Oil or Hazardous Material Storage/Equipment
Tanks greater than or equal to 55 gal
Hydraulic Elevators
Neutralization Systems
HW Satellite Accumulation Areas
Emergency Generators
Requires a DEP ERP permit, Emergency engine forms to EH&S
Regulatory Inspections
Notify EH&S of any Regulatory Environmental Inpsectors On-site